## Sky Brightness at Observatory
Sky Brightness at Observatorio Bajo Las Estrellas
Methods- Using MaxImDL, I measured the flux of 5 - 10 stars and the sky background from calibrated luminance images taken on various nights. The sky brightness (MagnS) was calculated using the equation below and the mean determined.
[6 empty] | Equation to Calculate Sky Brightness |  |  | Sky Brightness at other observatories
Near Zenith, Monday, January 19, 2026 @ 3:09 AM (new moon)
Measurements
Star | Mag | Flux | Sky Brightness
GSC1969:309 | 12.86 | 560472 | 19.6154 | used this star for magnitude calibration in MaximDL
GSC1969:328 | 12.7 | 708488 | 19.7098
GSC1969:340 | 12.47 | 839132 | 19.6635
GSC1969:297 | 12.98 | 526530 | 19.6676
GSC1969:783 | 13.29 | 263949 | 19.2278
GSC1969:380 | 11.2 | 2000882 | 19.337
GSC1969:356 | 12.57 | 658135 | 19.4998
GSC1969:394 | 12.84 | 609628 | 19.6866
GSC1969:447 | 10.99 | 1929696 | 19.0876
GSC1969:266 | 11.97 | 1219519 | 19.5694
Mean |  |  | 19.4944 | Sky Quality Meter reading was 20.05
STD |  |  | 0.2272
electrons/sec
Sky background | ADU/px | 470 | 1.0207
Image scale | arc-sec/px | 0.65
Image |  | Autosave Image- 007L_cal (fully calibrated), in Sky Brightness Measurements folder
CCD camera |  | STX16803 (gain = 1.303 e-/ADU, read noise = 9.09 e-)
Exposure (s) |  | 600 |  |  |  | Sky Brightness Over Time
Object altitude |  | FOV center was 79 deg above W horizon |  |  |  | Date | Zenith | Other Alt
Moon |  | 61 deg below E horizon |  |  |  | 2012-03-24 | 20.6116 | 20.2162
Sun |  | 54 deg below E horizon |  |  | clouds moved in duing flat frames | 2012-12-20 |  | 20.3402
[6 empty] | 2013-05-10 | 20.6345
[6 empty] | 2013-11-09 | 20.5976
[6 empty] | 2014-11-29 | 20.3227
[6 empty] | 2017-03-26 | 20.466
[6 empty] | 2017-04-03 |  | 20.1104
[6 empty] | 2017-11-11 |  | 20.0305
[6 empty] | 2022-01-06 |  | 19.9983
[6 empty] | 2022-12-25 | 20.1247
[6 empty] | 2025-02-28 | 19.5864
[6 empty] | 2025-04-28 | 19.5313
[6 empty] | 2026-01-18 | 19.4944
[6 empty] | Mean | 20.1521 | 20.1391
[6 empty] | STD | 0.1315 | 0.14037
Imaging NGC3344, Sunday, April 28, 2025 (new moon)
Measurements
Star | Mag | Flux | Sky Brightness
GSC 2022:1193 | 11.26 | 1959042 | 19.0254 | used this star for magnitude calibration in MaximDL
Tycho 2022:670 | 11.35 | 2097248 | 19.1894
GSC 2022:46 | 11.47 | 1787617 | 19.1359
GSC 2022:1257 | 14.91 | 118315 | 19.628
GSC 2022:801 | 14.81 | 145472 | 19.7523
GSC 2022:951 | 14.96 | 120760 | 19.7002
GSC 2019:38 | 14.37 | 187279 | 19.5866
GSC 2022:867 | 14.92 | 127028 | 19.7151
GSC 2022:701 | 14.43 | 156488 | 19.4516
GSC 2022:855 | 14.8 | 130270 | 19.6225
Mean |  |  | 19.5313 | Sky Quality Meter reading was 20.33 during this exposure
STD |  |  | 0.30953
electrons/sec
Sky background | ADU/px | 648 | 1.363
Image scale | arc-sec/px | 0.65
Image |  | LuminanceNearZenith_191W.00058 _cal (fully calibrated) @ 01:11 - 01:21 AM, in Sky Brightness Measurements folder
CCD camera |  | STX16803 (gain = 1.262 e-/ADU, read noise = 8.984 e-)
Exposure (s) |  | 600
Object altitude |  | FOV center was 82 deg above S horizon
Moon |  | xx deg below E horizon
Sun |  | xx deg below E horizon
Imaging NGC3344, Friday, February 28, 2025 (new moon)
Measurements
Star | Mag | Flux | Sky Brightness
GSC 1977:753 | 13.58 | 359069 | 19.4834 | used this star for magnitude calibration in MaximDL
GSC 1977:745 | 15.16 | 187064 | 20.3554
GSC 1977:846 | 14.82 | 109467 | 19.4337
GSC 1977:730 | 14.43 | 273266 | 20.0369
GSC 1977:911 | 14.91 | 83293 | 19.227
GSC 1977:246 | 13.67 | 316754 | 19.4372
GSC 1977:251 | 13.89 | 259358 | 19.4402
GSC 1977:134 | 15 | 104658 | 19.5649
GSC 1977:256 | 15.03 | 82424 | 19.3356
GSC 1977:833 | 13.76 | 294059 | 19.4465
Mean |  |  | 19.5864 | Sky Quality Meter reading was 20.5 during this exposure
STD |  |  | 0.52336
electrons/sec
Sky background | ADU/px | 660 | 1.3882
Image scale | arc-sec/px | 0.65
Image |  | LuminanceNGC3344_191W.00014 _cal (fully calibrated) @ 12:20 - 12:30 AM, in Sky Brightness Measurements folder
CCD camera |  | STX16803 (gain = 1.262 e-/ADU, read noise = 8.984 e-)
Exposure (s) |  | 600
Object altitude |  | FOV center was 82 deg above W horizon
Moon |  | 64 deg below E horizon
Sun |  | 65 deg below E horizon
Near Zenith December 25, 2022 (2 days past new moon)
Measurements
Star | Mag | Flux | Sky Brightness
GSC 2500:347 | 15.08 | 139002 | 20.1237
GSC 2500:695 | 14.51 | 227930 | 20.0906
GSC 2500:1472 | 14.83 | 164763 | 20.0583
GSC 2500:1069 | 14.88 | 151000 | 20.0136
GSC 2507:1288 | 14 | 395402 | 20.1787
UCAC3 254:99630 | 14.23 | 295598 | 20.0928
GSC 2500:1073 | 14.9 | 159946 | 20.096
UCAC3 254:99706 | 16.68 | 32501 | 20.1459
UCAC3 254:99710 | 15.47 | 102969 | 20.1879
UCAC3 253:10196 | 13.56 | 638118 | 20.2583 | used this star for magnitude calibration in MaximDL
Mean |  |  | 20.1247 | Sky Quality Meter reading was 20.67 about 30 min before this exposure (see last IC405 R frame reading)
STD |  |  | 0.069815
electrons/sec
Sky background | ADU/px | 564 | 1.2314
Image scale | arc-sec/px | 0.65
Image |  | Autosave Image- 002L_cal (fully calibrated), in Sky Brightness Measurements folder
CCD camera |  | STX16803 (gain = 1.303 e-/ADU, read noise = 9.09 e-)
Exposure (s) |  | 600
Object altitude |  | FOV center was 74 deg above W horizon
Moon |  | 59 deg below E horizon
Sun |  | 31 deg below E horizon
Imaging M81 January 06, 2022 (4 days past new moon)
Measurements
Star | Mag | Flux | Sky Brightness
UCAC3 318:46163 | 14.38 | 223724 | 20.1735
GSC 4383:728 | 14.2 | 244500 | 20.0899
GSC 4383:811 | 15.04 | 91138 | 19.8586
GSC 4383:712 | 12.13 | 1450752 | 19.9531
UCAC3 318:46177 | 12.23 | 1652839 | 20.1947
UCAC3 318:46118 | 15.3 | 114724 | 20.3684
GSC 4383:1031 | 11.16 | 2364648 | 19.5135
GSC 4383:1037 | 13.53 | 396165 | 19.9439
UCAC3 318:46125 | 16.06 | 35230 | 19.8466
GSC 4383:854 | 14.56 | 167744 | 20.0409
Mean |  |  | 19.9983 | Sky Quality Meter reading was 20.85 during this exposure
STD |  |  | 0.1447
electrons/sec
Sky background | ADU/px | 455 | 0.99342
Image scale | arc-sec/px | 0.65
Image |  | LuminanceM81_253W.00050_cal (3:33 AM)
CCD camera |  | STX16803 (gain = 1.31 e-/ADU, read noise = 11.21 e-)
Exposure (s) |  | 600
Object altitude |  | M81 just crossed meridian and was 54 deg above N horizon
Moon |  | 76 deg below E horizon
Sun |  | 48 deg below E horizon
Imaging NGC891 11/11/17 to 11/25/17 (moon: first quarter to third quarter)
Measurements
Star | Mag | Flux | Sky Brightness
GSC 2839:926 | 14.1 | 1029888 | 20.0283
GSC 2839:316 | 14.04 | 1241150 | 20.1709
GSC 2839:1256 | 14.23 | 875667 | 19.9822
GSC 2839:655 | 13.94 | 1122084 | 19.9614
GSC 2839:1031 | 14.17 | 949239 | 20.0098
Mean |  |  | 20.0305
STD |  |  | 0.082541
electrons/sec
Sky background | ADU/px | 1850 | 1.2179
Image scale | arc-sec/px | 0.65
Image |  | Master Luminance (mean combine of 92 frames)
CCD camera |  | STL11000M (gain = 0.79 e-/ADU, read noise = 12.15 e-)
Exposure (s) |  | 1200
Object altitude |  | NGC891 was high in N sky
Moon |  | various positions
Sun |  | various positions
Imaging M94 April 03, 2017 (6 days after new moon)
Measurements
Star | Mag | Flux | Sky Brightness
UCAC3 262:121953 | 16.14 | 176107 | 20.4035
GSC 3021:36 | 13.4 | 1047328 | 19.5991
GSC 3021:824 | 14.61 | 443601 | 19.8765
UCAC3 263:120589 | 16.05 | 208949 | 20.4991
UCAC3 263:120572 | 16.19 | 136099 | 20.1737
Mean |  |  | 20.1104
STD |  |  | 0.3732
electrons/sec
Sky background | ADU/px | 1466 | 0.96512
Image scale | arc-sec/px | 0.65
Image |  | Master Luminance (mean combine of 7 frames)
CCD camera |  | STL11000M (gain = 0.79 e-/ADU, read noise = 12.15 e-)
Exposure (s) |  | 1200
Object altitude |  | M94 was 70 to 45 deg above NW horizon
Moon |  | 10 to 30 deg below W horizon
Sun |  | 46 to 26 deg below E horizon
Imaging NGC5466 March 26, 2017 (2 days before new moon)
Measurements
Star | Mag | Flux | Sky Brightness
GSC 2012:511 | 13.26 | 1287881 | 20.4406
GSC 2012:1133 | 13.51 | 962196 | 20.3741
GSC 2012:595 | 13.61 | 953088 | 20.4638
GSC 2012:313 | 14.02 | 724083 | 20.5754
GSC 2012:48 | 13.64 | 937753 | 20.4761
Mean |  |  | 20.466
STD |  |  | 0.072754
electrons/sec
Sky background | ADU/px | 730 | 0.96117
Image scale | arc-sec/px | 0.65
Image |  | LuminanceNGC5466_103W.00031_cal (03-26-17; 2:30 AM)
CCD camera |  | STL11000M (gain = 0.79 e-/ADU, read noise = 12.15 e-)
Exposure (s) |  | 600
Object altitude |  | NGC5466 just crossed the meridian and was near the zenith (84 deg above W horizon)
Moon |  | 38 deg below E horizon
Sun |  | 45 deg below E horizon
November 29, 2014 (7 days past new moon)
Measurements
Star | Mag | Flux | Sky Brightness
UCAC3 236:92981 | 15.59 | 38948 | 20.428
GSC 1933:265 | 14.39 | 117392 | 20.4258
GSC 1933:38 | 13.11 | 347134 | 20.3229
GSC 1933:931 | 15.06 | 58184 | 20.3337
GSC 1933:929 | 12.91 | 340814 | 20.1029
Mean |  |  | 20.3227
STD |  |  | 0.13241
electrons/sec
Sky background | ADU/px | 191 | 1.2574
Image scale | arc-sec/px | 0.65
Image | Image at zenith_cal (11-29-14; 4:00 AM)
CCD camera | STL11000M (gain = 0.79 e-/ADU, read noise = 12.15 e-)
Exposure (s) | 120
Object altitude | Center of image is 84 deg above W horizon
Moon | 48 deg below W horizon
Sun | 39 deg below E horizon
November 09, 2013 (6 days past new moon)
Measurements
Star | Mag | Flux | Sky Brightness
GSC 2416:164 | 12.77 | 1118443 | 20.4238
GSC 2416:1181 | 12.45 | 1490370 | 20.4155
GSC 2416:234 | 13.5 | 783849 | 20.7678
GSC 2416:662 | 13.69 | 707619 | 20.8468
GSC 2416:368 | 13.42 | 680440 | 20.5342
Mean |  |  | 20.5976
STD |  |  | 0.19904
electrons/sec
Sky background | ADU/px | 410 | 1.0797
Image scale | arc-sec/px | 0.65
Image | Image at zenith_cal (11-09-13; 3:23 AM)
CCD camera | STL11000M (gain = 0.79 e-/ADU, read noise = 12.15 e-)
Exposure (s) | 300
Object altitude | Center of image is 81 deg above W horizon
Moon | 54 deg below W horizon
Sun | 43 deg below E horizon
May 10, 2013 (new moon)
Measurements
Star | Mag | Flux | Sky Brightness
GSC 2072:709 | 12.8 | 1158166 | 20.5515
GSC 2072:470 | 11.14 | 5008006 | 20.4812
GSC 2072:297 | 13.2 | 877689 | 20.6505
GSC 2072:1143 | 13.1 | 851401 | 20.5175
GSC 2072:845 | 12 | 2197506 | 20.4469
GSC 2072:666 | 13.8 | 536909 | 20.7169
GSC 2072:428 | 12.2 | 2677597 | 20.8614
GSC 2072:581 | 14.9 | 175057 | 20.6002
GSC 2072:967 | 13.9 | 487570 | 20.7122
GSC 2072:445 | 14.6 | 279088 | 20.8065
Mean |  |  | 20.6345
STD |  |  | 0.1393
electrons/sec
Sky background | ADU/px | 388 | 1.0217
Image scale | arc-sec/px | 0.65
Image | Image at zenith_cal (05-10-13)
CCD camera | STL11000M (gain = 0.79 e-/ADU, read noise = 12.15 e-)
Exposure (s) | 300
Object altitude | Center of image is 80 deg above W horizon
Moon | 30 deg below E horizon
Sun | 27 deg below E horizon
Imaging NGC4157 December 20, 2012 (1st quarter moon)
Measurements
Star | Mag | Flux | Sky Brightness
GSC 3457:203 | 13 | 2812000 | 20.4221
GSC 3457:153 | 13.4 | 1716437 | 20.2862
GSC 3457:571 | 13.2 | 2093158 | 20.3016
GSC 3457:358 | 13.4 | 1723946 | 20.2909
GSC 3457:217 | 13.1 | 2513146 | 20.4001
Mean |  |  | 20.3402
STD |  |  | 0.065459
electrons/sec
Sky background | ADU/px | 1276 | 0.84003
Image scale | arc-sec/px | 0.65
Image | NGC4157 luminance 00009_cal (12-20-12)
CCD camera | STL11000M (gain = 0.79 e-/ADU, read noise = 12.15 e-)
Exposure (s) | 1200
Object altitude | Center of image is 60 deg above NE horizon
Moon | 44 deg below W horizon
Sun | 36 deg below E horizon
Imaging Splinter Galaxy March 24, 2012 (2 days past new moon)
Measurements
Star | Mag | Flux | Sky Brightness
GSC 3871:618 | 13.2 | 2266774 | 20.3325
GSC 1800:579 | 13.7 | 1774829 | 20.5669
GSC 1800:588 | 12.6 | 2716671 | 19.9291
GSC 1800:607 | 13 | 2328408 | 20.1617
GSC 1800:599 | 13.1 | 1989606 | 20.091
GSC 2578:589 | 14 | 1409350 | 20.6142
GSC 2578:573 | 13.7 | 2034208 | 20.7126
GSC 2578:999 | 14.3 | 1126207 | 20.6707
GSC 2578:913 | 13.4 | 2046324 | 20.419
GSC 2578:1369 | 14.9 | 630725 | 20.6413
Mean at 63 degrees altitude |  |  | 20.2162
STD |  |  | 0.24374
Mean at zenith |  |  | 20.6116
STD |  |  | 0.11364
electrons/sec
Sky background 1 | ADU/px | 1343 | 0.88414
Sky background 2 | ADU/px | 1346 | 0.88612
Image scale | arc-sec/px | 0.65
Image 1 (left) | Splinter Galaxy Luminance 00028_cal (03-24-12)
Image 2 (right) | Image at zenith_cal (03-24-12)
CCD camera | STL11000M (gain = 0.79 e-/ADU, read noise = 12.15 e-)
Exposure (s) | 1200
Object altitude 1 | Center of image is 63 deg above NE horizon
Object altitude 2 | Center of image is 87 deg above N horizon
Moon | 44 deg below E horizon
Sun | 47 deg below E horizon

## Observatory vs New Mexico Skies
Sky Brightness at Observatory vs New Mexico Skies
NGC 3628 was about 70 deg above horizon
Methods- Using MaxImDL, I measured the flux of 10 stars and the sky background from two calibrated luminance images. In both cases, the telescope was pointing c.a. 70 degrees above southern horizon while imaging NGC 3628. The sky brightness was calculated using the equation below and the mean determined. There was no moon when the images were taken.
|  | Observ Bajo Las Estrellas |  | New Mexico Skies
|  | 2012-02-22 |  | 2009-04-20
Star | Mag | Flux | Sky Brightness | Flux | Sky Brightness
GSC 861:998 | 14.4 | 426536 | 20.2004 | 519205 | 21.3588
GSC 861:1193 | 12.5 | 2308113 | 20.1336 | 2721252 | 21.2573
GSC 861:1142 | 13.3 | 1169914 | 20.1958 | 1467342 | 21.3867
GSC 861:881 | 13.8 | 773905 | 20.2472 | 959493 | 21.4255
GSC 861:683 | 14.2 | 556241 | 20.2887 | 686951 | 21.4628
GSC 861:638 | 14.5 | 398289 | 20.226 | 488030 | 21.3916
GSC 861:972 | 15.2 | 230100 | 20.3303 | 285323 | 21.5088
GSC 861:1266 | 14.4 | 413580 | 20.1669 | 519055 | 21.3585
GSC 861:1202 | 15 | 281554 | 20.3494 | 355769 | 21.5484
GSC 861:1078 | 15.4 | 176958 | 20.2452 | 210838 | 21.3804
|  |  | 20.2384 |  | 21.4079
Mean
|  |  | 0.069074 |  | 0.083169
Standard Deviation
2.9365
Difference (fold)
Sky Background | ADU/px | 862 |  | 361
Image scale | arc-sec/px | 0.65 |  | 0.65
Master Luminance Frame (NGC 3628) at Observatorio Bajo Las Estrellas (02-22-12) | [5 empty] | Master Luminance Frame (NGC 3628) at New Mexico Skies (04-21-09)
Frame was aligned with similar frame taken at New Mexico Skies (right)

## Airmass
Altitude | Airmass
90 | 1
89 | 1.0002
88 | 1.0006
87 | 1.0014
86 | 1.0024
85 | 1.0038
84 | 1.0055
83 | 1.0075
82 | 1.0098
81 | 1.0125
80 | 1.0154
79 | 1.0187
78 | 1.0223
77 | 1.0263
76 | 1.0306
75 | 1.0353
74 | 1.0403
73 | 1.0457
72 | 1.0515
71 | 1.0576
70 | 1.0642
69 | 1.0711
68 | 1.0785
67 | 1.0864
66 | 1.0946
65 | 1.1034
64 | 1.1126
63 | 1.1223
62 | 1.1326
61 | 1.1434
60 | 1.1547
59 | 1.1666
58 | 1.1792
57 | 1.1924
56 | 1.2062
55 | 1.2208
54 | 1.2361
53 | 1.2521
52 | 1.269
51 | 1.2868
50 | 1.3054
49 | 1.325
48 | 1.3456
47 | 1.3673
46 | 1.3902
45 | 1.4142
44 | 1.4396
43 | 1.4663
42 | 1.4945
41 | 1.5243
40 | 1.5557
39 | 1.589
38 | 1.6243
37 | 1.6616
36 | 1.7013
35 | 1.7434
34 | 1.7883
33 | 1.8361
32 | 1.8871
31 | 1.9416
30 | 2
29 | 2.0627
28 | 2.1301
27 | 2.2027
26 | 2.2812
25 | 2.3662
24 | 2.4586
23 | 2.5593
22 | 2.6695
21 | 2.7904
20 | 2.9238
19 | 3.0716
18 | 3.2361
17 | 3.4203
16 | 3.628
15 | 3.8637
14 | 4.1336
13 | 4.4454
12 | 4.8097
11 | 5.2408
10 | 5.7588
9 | 6.3925
8 | 7.1853
7 | 8.2055
6 | 9.5668
5 | 11.4737
4 | 14.3356
3 | 19.1073
2 | 28.6537
1 | 57.2987
0 | 16324552277619072